Proposal for Plan of Action

1. Fire Alarm System with Master box

I am seeking your advice on what Fire Alarm System with Master box to choose from and in your opinion for a projected date for how long such a project could be allowed to last, just some kind of idea to help me to plan on this item. 7/28/12?

1. Knox Box

installation and finished by 8/20/11

1. Same as number one as to the projected date to finish. 7/28/12?
2. Hand rails finished by 8/27/11
3. Life Safety Requirements Finished by 8/27/11
4. Exits visible or Route to exit indicated Finished by 8/27/11
5. Illumination of means of Egress Finished by 8/27/11

All existing emergency lights are working Complete 7/15/11

1. Certify all Electrical components to meet current codes projected date by 9/30/11
2. Under all Stairways clean, no combustibles Complete 7/15/11
3. 25 Fire Doors finished by 11/24/12
4. 5 Vertical openings finished by 11/24/12
5. Same as number one and number three.
6. Same as number one and number three.
7. Defective flue pipe finished by 10/29/11
8. Boiler room fire door finished by 10/29/11
9. Windows in second floor Complete 7/13/11
10. 10 Fire Extinguishers finished by 8/27/11

Brian Laflamme

1. Outlet secured completed 6/18/11
2. LIGHT FIXTURE REMOVED completed 6/18/11
3. Open boxes in cellar covered
4. Broken outlet completed 6/18/11
5. Cover plates
6. Electrical panels need blanks to cover missing knockouts completed 6/18/11
7. Recessed can was not installed properly
8. Outlets with ground
9. GFCI protected outlets in bathrooms
10. Exposed wire in bathroom for vanity light needs a box
11. Electrical Sub panel in supply room needs to be looked at by a licensed electrician
12. Open splice for wiremold strip in living room completed 6/18/11
13. Light in box in stairwell off sitting room needs to be correctly installed. completed 6/18/11